## Slide 1: Virtual CT Scanner Team 7
Prof. Tsekos

## Slide 2: Iliana Chevez Sami Ahmed Sameer Salman Tulsiben Patel
Team 7

## Slide 3: Virtual CT Scanner
Phantom Generation
Scanner Controls & Reconstructed Image
Image Analysis

## Slide 4: Phantom Generation

## Slide 5: Phantom Generation
Phantom Generation Module: Located in the first panel of the GUI.
Phantom Selection: Users can select the type of phantom under the “Phantom Structure” section.
  Circular Phantom: Generates a phantom with a series of circular structures.
  Rectangular Phantom: Generates a phantom with a rectangular structure.
  Head Phantom: Generates a head phantom.

## Slide 6: Phantom Generation
Customization Options: For Circular and Rectangular phantoms, users can modify:
  Matrix Size: Adjust the size of the matrix.
  Structure Size: Change the size of the structures.
  Structure Color: Modify the color of the structures.
Visualization: After making changes, users can click the “Show phantom” button to visualize the phantom.

## Slide 7: Scanner Controls & Reconstructed Image

## Slide 8: Scanner Controls
Scanner Controls Module: Located in the second panel of the GUI.
Scanner Controls Parameters: Users can select and adjust the scanner controls under the “Scanner Controls” tab.

## Slide 9: Scanner Controls
Number of Detectors: Allows users to change the number of detectors used in the scanning process.
Detector Density: Enables users to adjust the density of the detectors.
Source Array Type: Users can select the type of source array used in the scanning process.
Source Distance: Users can adjust the distance of the source from the object being scanned.
Rotation Step Angle: Allows users to change the rotation step angle of the objects.

## Slide 10: Scanner Controls & Reconstructed Image
Applying Changes: After making the necessary adjustments, users can click the “Run” button to apply the changes to the scanner controls.
Image Display: The right section of the panel displays the reconstructed image based on the selected scanner controls.

## Slide 11: Image Analysis

## Slide 12: Image Analysis
Image Analysis Module: Located in the third panel of the GUI.
Image Analysis Selections: Users can select the image analysis method under the “Image Analysis” tab.
  SI and Contrast
  Image Difference
  SI Profiles

## Slide 13: Image Analysis
SI and Contrast: Allows users to analyze the Signal Intensity (SI) and contrast of the image.
  It compares two random points in the image and output the contrast between them.

## Slide 14: Image Analysis
Image Difference: Enables users to compare the reconstructed image generated by the scanner controls with the original input (phantom).

## Slide 15: Image Analysis
SI Profiles: Users can generate graphs of the signal intensity vs. position.
  When you click on SI Profiles it will show you a pop up as shown in the image.
  You can select which image you want to analyze.

## Slide 16: Image Analysis
After the selection is made the window in the image shown would pop up.
You can draw a line on the image to get the intensity profile.

## Slide 17: Image Analysis
Signal Intensity Profiles: this is the signal intensity profile of the line drawn on the previous slide.